May 9, 2018

Lickdale, PA

The Union Township Board of Supervisors held a scheduled sewer meeting on May 9, 2018.  The meeting was held at the Municipal Building, 3111 SR 72, Jonestown, PA.

`

Chairman Firestone called the meeting to order at 6:30 PM.

Present:		Dennis Firestone, Chairman

Kerry McCrary, Vice Chairman

Gary Longenecker, Secretary

Paul Bametzreider, Township Solicitor

Scott Rights, Sewer Engineer

Elizabeth Krause, Zoning Officer

Jim Darkes, Operator

Five (5) Citizens

APPROVE THE MINUTES

Chairman Firestone presented the minutes from the April meeting for approval.  Gary Longenecker made a motion seconded by Kerry McCrary to approve the April meeting minutes.   All approved.

APPROVE THE FINANCIAL REPORT

Dennis Firestone made a motion seconded by Kerry McCrary to approve the Financial Report.  All approved.

OPERATOR’S REPORT – Jim Darkes

GENERATOR QUOTES

Jim Darkes explained to the Board that they received the following quotes for the generators and quotes for the installation of the generators and it’s up to the Board as to what they decide to purchase.

- Penn Power Generator Quotes Through PA COSTARS – Includes 5-Year Warranty -  Does Not Include Installation

- Quotation # 1B74-9BB1-KB -  Atlas Copco 40kw Portable Generator – Model QAS 2570, QAS 45 T4F NB – Electric Brakes      -        $30,862.00

- Quotation # 1B78-A7B0-KB -  Detroit Diesel/MTU Set Rated 40kW Standby 120/208 Volts - $20,140.00

- Hahnlen Electric Estimates for Installation of Generators:

- Estimate #87 – Portable Pump # 2 Installation – $8,248.00 -  Provide & Install Wiring for Hookup of 40 KW Portable Generator for Pump Station 3 (5 sets generator cables & 5 sets of pigtails) & Labor

- Estimate #88 – Portable Pump # 3 Installation - $4,708.00 - Provide & Install Wiring for 40 KW Generator for Pump Station 2 & Labor

- Estimate #89 – Pump # 2 Standby - $10,434.00 – Includes Demo Macadam & Remove, Form, Pour & Finish Concrete Pad & Rebar & Labor Provide & Install Wiring and Equipment for 40 KW Generator, Provide Gas Service from Existing Natural Gas Meter to Standby Generator & Labor for Electric Installation.

A discussion was held regarding the types of generators and their installation as well as the location where the new generator would be installed.  Scott Rights commented that the Ingram Micro Pump Station is about 19 years old and the wet wells are extremely small.   Dennis Firestone made a motion seconded by Kerry McCrary to purchase the Detroit Diesel/MTU 40 KW Standby generator (Quotation # 1B78-A7B0-KB) in the amount of $20,140.00 and have Hahnlen Electric Install the standby generator at the Ingram Micro Pump Station as stated in Quote # 89 which is in the amount of $10,434.00.  All approved.

- KEENER ELECTRIC QUOTE OF $1,150.00 FOR THE IMLR PUMP REPAIR

Jim Darkes reported that they received a quote of $1,150.00 from Keener Electric to repair the IMLR Pump.  Gary Longenecker made a motion seconded by Kerry McCrary to authorize the IMLR Pump repair by Keener Electric in the amount of $1,150.00.  All approved.

Lastly, Mr. Darkes reported that the flow meter information has been provided for Liberty Car Wash, and the NLCA will work with Liz Krause regarding the readings for the sewer billing.

ENGINEER’S REPORT –  SCOTT RIGHTS

The following is an update on work completed by our office during the past month.

- Wastewater Treatment Plant & Collection System Issues:

a.	No operational issues to report this month.

b.	Sewer Main Cleaning and Televising:  USG was authorized to proceed on March 16 and directed to coordinate start dates directly with NLCA.  A start date is still pending.  Jim Darkes commented that they are planning on doing the work within a week or two of a wet weather event which could be in a few weeks or in the fall.

2.	Land Development Projects:  The following is an update on proposed land development projects and reviews as they relate to sanitary sewer.

a.	Lickdale 81-Unit Hotel (Route 72):  This project has been granted conditional final land development plan approval.  Outstanding items with respect to sanitary sewer include verifying all easements required on the west side of Route 72 have been obtained as well as securing the PADOT Highway Occupancy Permit (HOP) to bore underneath Route 72.  The Developer has coordinated the execution of the HOP Indemnification Agreement with the Township Solicitor.  Dennis Firestone made a motion seconded by Kerry McCrary to sign the Indemnification Agreement.  All approved.  Atty. Bametzreider said that once the developer submits their application, PennDot is going to send the Township a HOP Conditions Statement, which is going to have conditions related to their approval of the HOP.  When the Township receives the HOP Conditions Statement, it should be forwarded to the Scott Rights and Atty. Bametzreider so they can make sure everything in there is good before it gets signed and sent back to PennDot.

b.	Logistics Park, Phase 2 Warehouses (Vision Acquisitions III):  This project is in the construction phase.  Construction for the low-pressure sewer boring in Bordnersville Rd inside the Route 81 right-of-way has been completed.  Work on the remainder of the low-pressure sewer is scheduled to resume in the upcoming weeks.  (No change since last Board meeting).

c.	70 Bordnersville Rd (Brewsters):  This project is in the construction phase.  Installation of the low-pressure sewers on the site and the grinder pump station has been completed.  Final connection shall be made to the future Logistics Park Phase 2 low pressure sewers in Bordnersville Rd.  towards the northeast corner of the site.  The system for this site shall remain privately owned by the property owner.  Our office continues to provide periodic spot inspections.  (No change since last Board meeting).

4.	Dedication of Select Logistics Park Sewers:  As directed by the Board at their August 9 meeting, we completed our review of the Logistics Park sewers to identify which runs should be considered for dedication to the Township.  We provided our findings in our email dated September 12.  The owners of Lots #1 and #2 have yet to indicate that they have an interest in dedicating the lines.  (No change since last Board meeting).

5.	Standard Sanitary Sewer Construction Specifications:  Our office continues to work with the Township to finalize the revised and updated documents.

OTHER COMMENTS

Dennis Firestone congratulated the Northern Lebanon County Authority (NLCA) for receiving the 2108 Wastewater Treatment Plant of the Year award from the PA Rural Water Association for their location at 400 Jonestown Road.  The award was presented to a wastewater treatment plant in PA that demonstrates commitment to excellence to the community they serve.

SOLICITOR’S REPORT – PAUL BAMETZREIDER

Atty. Bametzreider reported to the Board that the Indemnification Agreement for the Lickdale Holiday Inn has been recorded at the Lebanon County Recorder of Deeds Office.  He noted that he prepared a Sanitary Sewer Easement Document and sent it to the Developer and should have it for next month’s meeting for the Board to sign after the Developer signs it.

Atty. Bametzreider reminded the Board that Lickdale Campground should be submitting their check in the amount of $10,800.00 by June 30th in order to make their 2017 payment for the additional EDU’s they are required to purchase.  He noted that the Board previously agreed to extend the 2017 payment until June 30, 2018, and if payment is not received by June 30th, they are in default and the Township needs to take action.

OLD BUSINESS

SIGNAGE FOR DAY’S INN REGARDING TRAFFIC/PARKING ISSUES

Dennis Firestone stated that there was an issue with cars from the Days Inn parking in the Right-of-Way to the sewer treatment plant.  He noted that the road crew erected four signs.  Jim Darkes said the owner has been very cooperative, but it appears that unless the lines are repainted on the roadway itself, there will continue to be a problem.  The Board agreed to have the road crew repaint the lines in order to help eliminate the parking issue.

BILLS

Dennis Firestone made a motion seconded by Gary Longenecker to pay the bills in the amount of $49,748.64.  All approved.

DATE OF NEXT LICKDALE TREATMENT PLANT MEETING

Wednesday, June 13, 2018 at 6:30 P.M

ADJOURNMENT

The meeting was adjourned at 6:59 p.m.

Respectfully submitted,

Elizabeth Krause

Recording Secretary