June 13, 2018

Lickdale, PA

The Union Township Board of Supervisors held a scheduled sewer meeting on June 13, 2018.  The meeting was held at the Municipal Building, 3111 SR 72, Jonestown, PA.

`

Chairman Firestone called the meeting to order at 6:30 PM.

Present:		Dennis Firestone, Chairman

Kerry McCrary, Vice Chairman

Gary Longenecker, Secretary

Paul Bametzreider, Township Solicitor

Scott Rights, Sewer Engineer

Brent McFeaters, Township Manager

Elizabeth Krause, Zoning Officer

Dusty Keller, Operator

Seven (7) Citizens

APPROVE THE MINUTES

Chairman Firestone presented the minutes from the May meeting for approval.  Gary Longenecker made a motion seconded by Kerry McCrary to approve the May meeting minutes.   All approved.

APPROVE THE FINANCIAL REPORT

Dennis Firestone made a motion seconded by Kerry McCrary to approve the Financial Report.  All approved.

OPERATOR’S REPORT – Dusty Keller

Dusty Keller reported that they had to replace a 3” discharge hose that cost around $250.00 but were able to reuse the existing hose fittings.

Mr. Keller also reported that the small dehumidifier located in the main pump station stopped functioning and they had to purchase a new one which cost around $200.00.

Kerry McCrary asked if a date was set for the Board to tour the Sewer Treatment Plant.  Brent McFeaters, Township Manager said that he will ask Jim Darkes if they could arrange the tour for a late Saturday morning.

ENGINEER’S REPORT – SCOTT RIGHTS

The following is an update on work completed by our office during the past month.

- Wastewater Treatment Plant & Collection System Issues:

a.	No operational issues to report this month.

b.	Sewer Main Cleaning and Televising:  USG was authorized to proceed on March 16.  A definitive start date has not been established.  The intent is to complete the work during an upcoming wet weather period if possible.  USG will continue to coordinate with NLCA in selecting a time that suits both parties.

2.	Land Development Projects:  The following is an update on proposed land development projects and reviews as they relate to sanitary sewer.

a.	Lickdale 81-Unit Hotel (Route 72):  This project has been granted conditional final land development plan approval.  During the month, PADOT issued the Highway Occupancy Permit (HOP) for the sewer crossing under Route 72 and the sewer easement agreements across the Lickdale Fire Company property appear to be in or order.  All outstanding sanitary sewer issues have been resolved.  A discussion was held regarding the sewer connection and Scott Rights stated that his office will be doing full time inspections when they are working on the sewer.

b.	Logistics Park, Phase 2 Warehouses (Vision Acquisitions III):  This project is in the construction phase.  Construction for the low-pressure sewer boring in Bordnersville Rd inside the Route 81 right-of-way has been completed.  Pursuant to a telephone call we received from the Contractor towards the end of May, work on the remainder of the low-pressure sewer is scheduled to resume sometime mid to late June.

c.	70 Bordnersville Rd (Brewsters):  This project is in the construction phase.  Installation of the low-pressure sewers on the site and the grinder pump station has been completed.  Final connection shall be made to the future Logistics Park Phase 2 low pressure sewers in Bordnersville Rd.  towards the northeast corner of the site.  The system for this site shall remain privately owned by the property owner.  (No change since last Board meeting).

3.	Standard Sanitary Sewer Construction Specifications:  Our office is scheduled to meet with the Township Manager to review the draft documents towards the end of the month.

SOLICITOR’S REPORT – PAUL BAMETZREIDER

Atty. Bametzreider reported that on May 29th Lickdale Campground made their 2017 payment of $10,800.00 for the purchase of three additional EDU’s.  He added that their 2018 payment will be due by December 31st.

BILLS

Dennis Firestone made a motion seconded by Kerry McCrary to pay the bills in the

amount of $35,918.47 from the sewer fund.  All approved.

DATE OF NEXT LICKDALE TREATMENT PLANT MEETING

Wednesday, July 11, 2018 at 6:30 P.M

ADJOURNMENT

The meeting was adjourned at 6:40p.m.

Respectfully submitted,

Elizabeth Krause

Recording Secretary