September 12, 2018

Lickdale, PA

The Union Township Board of Supervisors held a scheduled sewer meeting on September 12, 2018.  The meeting was held at the Municipal Building, 3111 SR 72, Jonestown, PA.

`

Chairman Firestone called the meeting to order at 6:30 PM.

Present:		Dennis Firestone, Chairman

Kerry McCrary, Vice Chairman

Gary Longenecker, Secretary

Paul Bametzreider, Township Solicitor

Jeff Steckbeck, Sewer Engineer

Brent McFeaters, Township Manager

Elizabeth Krause, Zoning Officer

Dusty Keller, Operator

Six (6) Citizens

PUBLIC COMMENTS

APPROVE THE MINUTES

Chairman Firestone presented the minutes from the August meeting for approval.  Gary Longenecker made a motion seconded by Kerry McCrary to approve the August meeting minutes.   All approved.

APPROVE THE FINANCIAL REPORT

Kerry McCrary made a motion seconded by Dennis Firestone to approve the Financial Report.  All approved.

OPERATOR’S REPORT – Dusty Keller

- Industrial Sampling – Dusty Keller reported that the industrial sampling was completed at the plant and they are waiting on one more analysis to come back and then they will be able to send out the invoices for the cost and will then can issue permits.

- Sewer Line Cleaning and Televising – Mr. Keller reported that the sewer line cleaning and televising was completed, and they are waiting for the reports from USG.

- Re-piping the Water Supply Line to Screen – Dusty explained to the Board that Weaver Contractors will replace all the PVC piping with 1” PEX tubing and all valves and fitting will be replaced and a Diatrol shock suppressor will be added and all the pipe will be supported to avoid movement during solenoid operation.  The approximate cost for re-piping the water supply line to the screen is $1,400.00.

ENGINEER’S REPORT – JEFF STECKBECK

The following is an update on work completed by our office during the past month.

- Wastewater Treatment Plant & Collection System Issues:

a.	Sewer Main Cleaning and Televising:  USG completed the line cleaning and televising work during the latter part of August.  Based on preliminary discussions we had with USG, it appears the system is in relatively good shape other than a leak in Manhole 50 which is situated on the Trinity United Methodist Church property along Fisher Ave. just opposite of Ingram Micro.  USG indicated they intend to send us the reports and videos sometime next week which will contain specific details.  We’ll be able to determine what repairs are needed after receipt and review of the reports.

b.	Chemical Feed Yard Piping:  We reviewed the proposed layout and finalized details with NLCA at our August 29 site meeting.  Plans were forwarded to AH Moyer and SLH Excavating for pricing.  A copy of the plan is attached.  Quotes are still pending.  Based on backlogs, both indicated they can only complete the work beginning in mid-October.

Mr. Steckbeck informed the Board that prior to the meeting he received a quote from SLH Excavating in the amount of $15,800.00 and one from A. H. Moyer in the amount of $63,322.00 for the same work.

c.	Transition to Place Treatment Train #2 on line:  NLCA and our office continue to work towards placing the second process train on line.  Details of modifications needed before the train can be placed on line have essentially been finalized and forwarded to contractors who are now developing cost quotes.  Fabrications needed are being quoted by Miles T Weaber Ironworks while A.H. Moyer and DESSCO are reviewing the installation work.  Quotes are still pending. In addition, we continue to coordinate the required visits by Kruger.

Jeff Steckbeck noted that they also just received a quote from DRESSCO in the amount of $13,880.00 and one from AH Moyer in the amount of $40,627.00 for the installation work.   After a discussion regarding the quotes, Dennis Firestone made a motion seconded by Gary Longenecker to approve DRESCO’s quote in the amount of $13,880 for the installation work and SLH’s quote in the amount of $15,800.00 for the chemical feed yard piping.  All approved.

d.	Leak in Sodium Hydroxide Piping:  We were advised at our August 29 site meeting the suction piping between the sodium hydroxide storage tank and the chemical feed pump has a leak in it.  NLCA and our office have been coordinating to have the piping replaced immediately after the storage tank is near empty which is expected to occur within the next week or so.  NLCA is making provisions to temporarily continue feeding chemicals while the work is being completed as well as having the tank cleaned and flushed of any residual chemicals remaining in the tank.  Our office is working towards lining up a contractor.  The sodium hydroxide has attacked several other pipe joints and although not leaking, will be replaced as well.  NLCA emailed photos of the pipe earlier in the week.

2.	Land Development Projects:  The following is an update on proposed land development projects and reviews as they relate to sanitary sewer.

a.	Lickdale 81-Unit Hotel (Route 72):  This project has been granted conditional final land development plan approval.  All sanitary sewer issues have been addressed including the PADOT Highway Occupancy Permit and the easement agreement across the Lickdale Fire Company property.  (No change since last Board meeting).  Liz, Krause commented that the developer of the hotel is delinquent on paying the reimbursement fees that are owed to the Township as well as being delinquent on his sewer bill and that the total amount owed is over $10,000.00.  The Board said Krause should forward the information to Paul Bametzreider, Township Solicitor.

b.	Logistics Park, Phase 2 Warehouses (Vision Acquisitions III):  This project is in the construction phase.  Construction of the low-pressure sewer in Bordnersville Rd. was completed last month.  During the past month, the contractor cleared the right of way across Logistics Park Lot #1 in anticipation of commencing the cross-country work and connection to the terminal cleanout manhole just upstream of the existing Logistics Park Pump Station.  (No change since last Board meeting).

c.	70 Bordnersville Rd (Brewsters):  This project is in the construction phase.  During the month, the contractor made the final connection to the terminal low-pressure cleanout located at the northeast corner of the site and installed as part of Logistics Park Phase 2 work.  Other than final testing, their work is complete.  The system cannot be placed in service until the low-pressure sewer system across Logistics Park Lot #1 and final connection to the existing sewers by the owner of Logistics Park Phase 2 has been completed.

3.	Standard Sanitary Sewer Construction Specifications:  Our office met with the Township Administrative staff during the month to review and finalize the administrative procedures for developer submissions.  We are now finalizing the technical specification revisions and standard drawing details.

4.	Tier II Report for Chemicals used at the WWTP:  We began preparing the Tier II report to register chemicals used at the Lickdale Wastewater Treatment Plant as directed by the Township in response to the August 14 letter the Township received from the Lebanon County Emergency Management Agency.  We anticipate completing the report by the week ending September 21.

SOLICITOR’S REPORT – PAUL BAMETZREIDER -

Atty. Bametzreider said he had nothing new to report.

BILLS

Gary Longenecker made a motion seconded by Kerry McCrary to pay the bills in the

amount of $55,343.64 from the sewer fund.  All approved.

DATE OF NEXT LICKDALE TREATMENT PLANT MEETING

Wednesday, October 10, 2018 at 6:30 P.M

ADJOURNMENT

The meeting was adjourned at 6:48 p.m.

Respectfully submitted,

Elizabeth Krause

Recording Secretary