June 10, 2020

Lickdale, PA

The Union Township Board of Supervisors held a scheduled sewer meeting on June 10, 2020.  The meeting was held at the Municipal Building, 3111 SR 72, Jonestown, PA.

Chairman Firestone called the meeting to order at 6:30 PM.

Present:		Dennis Firestone, Chairman

Kerry McCrary, Vice Chairman

Gary Longenecker, Secretary

Paul Bametzreider, Township Solicitor

Atty. Andrew Race

Scott Rights, Sewer Engineer

Brent McFeaters, Township Manager

Elizabeth Krause, Zoning Officer

Dusty Keller, Operator

Four (4) Citizens

PUBLIC COMMENTS

None

APPROVE THE MINUTES

Chairman Firestone explained that there was no sewer meeting in the month of May and the sewer meeting was included in the Board of Supervisors meeting due to the pandemic.   Dennis Firestone made a motion seconded by Gary Longenecker to approve the May Board of Supervisors meeting minutes.   All approved.

APPROVE THE FINANCIAL REPORT

Gary Longenecker made a motion seconded by Kerry McCrary to approve the Financial Report.  All approved.

OPERATOR’S REPORT – Dusty Keller

Dusty Keller reported the following to the Board:

- The Plant is running very well.  There were no major breakdowns at the treatment plant or the pump stations during the month.

- The FSWA staff has been taking care of the groundskeeping at the plant since the middle of May.  We are keeping a record of the dates that we mowed/trimmed until an agreement between Union Township and FSWA is reached.  Dusty said that there are approximately 30 to 35 cuttings done per year along with weed whacking.    After a brief discussion Dennis Firestone made a motion seconded by Kerry McCrary to pay $140.00 per cut to the Fredericksburg Sewer & Water Authority.  All approved.  Dusty added that they will include spraying the fence line and Atty. Bametzreider said he will do an addendum to the current agreement regarding the mowing and trimming at the treatment plant.

- I have started working with the engineer to complete the permit application to renew the NPDES Permit.  This will require some additional sampling.  Dusty noted that he plans to collect those samples on Tuesday.

- The man gate has been installed in the fence by Pump Station 3 (Logistics Park) to provide access to the low-pressure force main.  This is to provide access for maintenance and inspection purposes.  The work was completed by Abel Fence and paid for by First Industrial.

ENGINEER’S REPORT – Scott Rights

The following is an update on work completed by our office during the past month

- Wastewater Treatment Plant & Collection System Issues:  Based on telephone conversations with the operator, no issues to report.

2.	National Pollutant Discharge Elimination System (NPDES) Permit Renewal for WWTP:  The Township received a reminder letter from the PADEP indicating the existing permit expires on April 30, 2021 and that the renewal application is due PADEP on November 1, 2020.  The NPDES Permit establishes the stream discharge limits for the WWTP effluent.  Our office reviewed the application requirements and assembled a sampling plan for FSWA to collect the additional sampling required for the application.

3.	PADEP Chapter 94 Annual Wasteload Management Report:  PADEP approved the 2019 report on May 28, 2020.

4.	Land Development Projects:  The following is an update on proposed land development projects and reviews as they relate to sanitary sewer.

a.	Freightliner of Lebanon (SE corner of SR 0072 and Old Forge Rd):  The subdivision and land development plans propose connection to the Township’s sewer main in Old Forge Rd. opposite Love’s Truck Stop.  As reported last month, all sanitary sewer comments have been satisfactorily addressed.  The Developer and their Engineer are currently working on completing the industrial pretreatment application.  During the month we assisted the Township in completing the Developer’s request to execute a PADEP Sewage Facilities Planning Module Exemption.

b.	Home 2 Suites Hotel (Fisher Ave.):  The subdivision and land development plans propose a grinder pump with connection to the existing 3-inch low pressure sewer running parallel to the back of the property.  As reported last month, all sanitary sewer comments have been satisfactorily addressed.  (No change to project status since last meeting).

c.	Logistics Park Phase 2:  The Developer continues to assemble documents required 	for deed of dedication for the low-pressure sewer line.  During the month, we 	approved the Developer’s cost estimate for integrity bond.  In addition, the 	Developer installed the personnel gate in the perimeter fencing around Logistics 	Park Lot #1 to allow the Township access to the line from the east per our request.  	The Developer advised us they are completing the required as built survey of the 	low-pressure sewer line.  The Township Solicitor intends to draft the agreement 	after all documents have been submitted.

5.	Standard Sanitary Sewer Construction Specifications:  Our office continues to finalize the technical specification revisions and standard drawing details.

SOLICITOR’S REPORT – PAUL BAMETZREIDER

Atty. Bametzreider said back in January the Township sent a letter to Kyle Boltz regarding his 2019 payment for 3 EDUs and asked if it was ever paid.  Liz Krause said Mr. Boltz previously made his payment for the 3 EDUs and also paid the sewer bill that was due.

Paul added that like Scott said they are working on the Dedication of the Logistics Park Phase II line and that should happen within the next month or so.

NEW BUSINESS - None

OLD BUSINESS – None

OTHER COMMENTS - None

BILLS

Dennis Firestone made a motion seconded by Kerry McCrary to pay the bills in the

amount of $17,774.19 from the Sewer Fund.  All approved.

DATE OF NEXT LICKDALE TREATMENT PLANT MEETING

Wednesday, July 8 2020 at 6:30 P.M

ADJOURNMENT

The meeting was adjourned at 6:42 p.m.

Respectfully submitted,

Elizabeth Krause

Recording Secretary